## Summary
| North Eastern Region summary sheet and details of current status of implementation of telemetry system | [10 empty] | Annexure - VII
[10 empty] | Status as on : |  | 2024-01-01
Sl. No. | User Name | Total Nos of Stations |  | Telemetry not Provided |  |  |  | Telemetry Intemittent |  |  |  | Total non-availability of data in % (Telemetry not provided plus Telemetry intermittency)
|  |  |  | Total nos of station |  | Non-availability of data in % (wrt total nos of stations) |  | Total nos of station |  | Non-availability of data due to intermittency in % (wrt total nos of stations)
|  | GS | SS | GS | SS | GS | SS | GS | SS | GS | SS | GS | SS
1 | AEGCL | 13 | 74 |  | - | 0% | - | 3 | 4 | 23.08% | 5.405% | 23.08% | 5.405%
2 | MeECL/MePTCL | 7 | 21 |  |  | 0% | 0% | 1 | 3 | 14.29% | 14.29% | 14.29% | 14.29%
3 | TSECL | 4 | 22 | 0 | 0 | 0% | 0% | 1 | 13 | 25% | 59.09% | 25% | 59.09%
4 | POWERGRID | - | 22 | - | - | - |  | - | 0 | - | 0% | - | 0%
5 | NEEPCO | 8 | - | - | - | - | - | 0 | 0 | 0% | - | 0% | -
6 | NHPC | 1 | - | - | - | - | - | - | - | - | - | - | -
7 | OTPC | 1 | - | - | - | - | - | - | - | - | - | - | -
8 | INDIGRID | - | 2 |  |  |  |  | - | - | - | - | - | 0%
9 | KMTL | - | 1 |  |  |  |  | - | - | - | - | - | 0%
10 | NTPC | 1 | - | - | - | - | - | - | - | - | - | - | -
11 | NAGALAND | 1 | 17 | 1 | 5 | 100% | 29.41% | 1 | 1 | 100% | 5.882% | 200% | 35.29%
12 | MIZORAM | 1 | 11 | 1 | 5 | 100% | 45.45% | - | 1 | - | 9.091% | 100% | 54.55%
13 | MANIPUR | - | 17 | - | 3 | - | 17.65% | - | 5 | - | 29.41% | - | 47.06%
14 | Ar.Pradesh | 1 | 10 | - | 1 | - | 10% | 0 | 1 | 0% | 10% | 0% | 20%
| TOTAL | 38 | 197 | 2 | 14 | 5.263% | 7.107% | 6 | 28 | 15.79% | 14.21% | 21.05% | 21.32%
| Total (over all) | 235 |  | 16 |  | 6.809% |  | 34 |  | 14.47% |  | 21.28%
Note:
1. Constituents-wise details as per data available at NERLDC
2. 'GS' Generating Stations and 'SS' sub-Stations
3. Status considered above are grid sub-station and upto 33 KV voltage level.
4. Partial data available means if any part of the elements like Bus-Voltage/frequency/analog/degital/reactors is under suspect condition/not 100%.
5. Kopili and KOPEX data is not included.

## Details
Details of North-Eastern Region | [5 empty] | Annexure - VII (A)
A. Telemetry not provided
A.1 | Generating Station
Sl. No. | User Name | Name of Generation Stations | Date of first sysnchonisation | Total Generation Capacity (in MW) | Target Date as per User | Remark
1 | NAGALAND | Likhimro ( 3X8 MW ) | Nov/Dec'2001(U1-2)Apr'029U3) | 24 | No target | To be included in new SCADA upgrade project
1 | MIZORAM | Bairabi (4X22 MW) | May'2004 | 88 | No target | To be included in new SCADA upgrade project
|  | Total |  | 112
A.2 | 765 kV/ 400 kV Sub - Stations
Sl. No. | User Name | Name of sub-Stations | Voltage level | Date of first sysnchonisation | Target Date as per User | Remark
NIL
A.3 | 220 kV / 132 / 66 kV Sub - Stations
Sl. No. | User Name | Name of sub-Stations | Voltage level | Date of first sysnchonisation | Target Date as per User | Remark
1 | MIZORAM | Saitual | 132 kV | NA | No target | NO COMMUNICATION CHANNEL
2 |  | Champhai | 132 kV | NA | No Target | NO COMMUNICATION CHANNEL
3 |  | Khawzawl | 132 kV | NA | No Target | NO COMMUNICATION CHANNEL
4 |  | Serchhip | 132 kV | NA | No Target | NO COMMUNICATION CHANNEL
5 |  | Lunglei | 132 kV | NA | No Target | NO COMMUNICATION CHANNEL
1 | ARUNACHAL PRADESH | Daporijo | 132 kV | NA | No Target | NO COMMUNICATION CHANNEL
1 | NAGALAND | Longnak | 66 kV | NA | No Target | NO COMMUNICATION CHANNEL
2 |  | Chiephobozou | 132 kV | NA | No Target | NO COMMUNICATION CHANNEL
3 |  | Nagnimora | 66 kV | NA | No Target | NO COMMUNICATION CHANNEL
4 |  | Meluri | 132 kV | NA | No Target | NO COMMUNICATION CHANNEL
5 |  | Tizit | 66 kV | NA | No Target | NO COMMUNICATION CHANNEL
1 | MANIPUR | Elangkangpokpi | 132 kV | NA | No Target | NO COMMUNICATION CHANNEL
2 |  | Thanlon | 132 kV | NA | No Target | NO COMMUNICATION CHANNEL
3 |  | Thoubal Old | 132 kV | NA | No Target | NO COMMUNICATION CHANNEL
B. Telemetry provided but not working / working intermittently
B.1 |  | Generating Station
Sl. No. | User Name | Name of Generation Stations | Total Generation Capacity (in MW) | Target Date as per User | Average % non-availability for last 15 days or date since data is not-available. | Remark
1 | TRIPURA | Gumti | 15 | NA | 100 | All data suspect
1 | ASSAM | Myntriang I | 9 | NA | 100 | All data suspect
2 |  | Myntriang II | 4.5 | NA | 100 | All data suspect
3 |  | Patanjali (SP) | 4 | NA | Partial | All data suspect
1 | MEGHALAYA | Umiam-4 | 60 | NA | 100 | All data suspect
1 | NAGALAND | LHEP | 24 | NA | 100 | All data suspect
|  | Total | 77.5
B.2 |  | Sub - Stations
Sl. No. | User Name | Name of sub-Stations | Voltage level | Target Date as per User | Average % non-availability for last 15 days or date since data is not-available. | Remark
1 | ASSAM | Bokajan | 132 kV | NA | 100 | NOT reporting
2 |  | Pailapool | 132 kV | NA | 100 | NOT reporting
3 |  | Sonari | 132 kV | NA | 100 | NOT reporting
4 |  | Matia | 132 kV | NA | 100 | NOT reporting
1 | MEGHALAYA | Amrit | 132 kV | NA | 100 | All data suspect
2 |  | Mawlyndep | 132 kV | NA | 100 | All data suspect
3 |  | Mustem | 132 kV | NA | 100 | All data suspect
1 | TRIPURA | Amarpur | 66 kV | NA | 100 | All data suspect
2 |  | Ambassa | 132 kV | NA | 100 | All data suspect
3 |  | Belonia | 66 kV | NA | 100 | All data suspect
4 |  | Bokafa | 66 kV | NA | 100 | All data suspect
5 |  | Boxanagar | 66 kV | NA | 100 | All data suspect
6 |  | Gournagar | 132 kV | NA | 100 | All data suspect
7 |  | Kamalpur | 132 kV | NA | 100 | All data suspect
8 |  | Jirania | 132 kV | NA | 100 | All data suspect
9 |  | Ompi | 66 kV | NA | 100 | All data suspect
10 |  | Sabroom | 66 kV | NA | 100 | All data suspect
11 |  | Gamaitila | 132 kV | NA | 100 | All data suspect
12 |  | Dharmanagar | 132 kV | NA | 100 | All data suspect
13 |  | Satchand | 66 kV | NA | 100 | All data suspect
1 | MIZORAM | Lungmual | 132 kV | NA | 100 | All data suspect
1 | MANIPUR | Chandel | 132 kV | NA | 100 | All data suspect
2 |  | Churachandpur | 132 kV | NA | 100 | All data suspect
3 |  | Moreh | 132 kV | NA | 100 | All data suspect
4 |  | Rengpang | 132 kV | NA | 100 | All data suspect
5 |  | Tipaimukh | 132 kV | NA | 100 | All data suspect
1 | ARUNACHAL PRADESH | Jairampur | 132 kV | NA | 100 | All data suspect
1 | NAGALAND | Ganesh Nagar | 66 kV | NA | 100 | All data suspect

## Communication
Communication status of North-Eastern Region |  |  |  | Annexure - VII (B)
A. Stations connected to RLDC through single communication channel
Sl. No. | User Name | Name of sub-Stations/ Generating Station | Voltage level | Remark
1 | POWER GRID | Namsai S/S | 132 KV | VSAT communication
2 |  | Roing S/S | 132 kV | VSAT communication
3 |  | Ziro S/S | 132kV | Single communication Channel
4 |  | Tezu S/S | 132 kV | VSAT communication
1 | NEEPCO | Kameng | 400 kV | Single communication Channel , Some part of the working channel is PLCC and other part is OFC
2 |  | Kathalguri G/S | 220 kV | Single communication Channel , Some part of the working channel is PLCC and other part is OFC